Line Interactive UPS - 1200VA

| Model | MR-UF1200 |  |
| --- | --- | --- |
| Capacity | 1200VA / 720W |  |
| Output |  |  |
| Output Voltage | 220V – 240V or 110V – 120V |  |
| Output Frequency | 50Hz / 60Hz |  |
| Waveform Type | Simulated sine wave |  |
| Transfer Time | Typical 2 – 6ms, 10ms Max. |  |
| Input |  |  |
| Input Voltage | 220V – 240V or 110V – 120V |  |
| Input Voltage Range | 145V – 290V or 85V – 150V |  |
| Input Frequency | 50Hz / 60Hz |  |
| Battery |  |  |
| Battery Type & Number | 12V / 7Ah*2 |  |
| Typical Recharge Time | 4 – 6 hours recover to 90% capacity |  |
| Physical |  |  |
| Dimension, D*W*H(mm) | 345 * 122 * 192 |  |
| Net Weight(kg) | 8.4 |  |
| Communication Interface | USB, RJ45 (Optional) |  |
| Communications & Management |  |  |
| Control Panel | LED status display with AC mode, Battery mode and overload indicators |  |
| Alarm | Alarm every 8 seconds in battery mode |  |
|  | Continuous tone alarm for low battery |  |
|  | Continuous tone alarm for 5 seconds on overload |  |
| Protection | Short circuit, Overload , Overcharge and Overdischarge protection |  |
| Environment |  |  |
| Audible Noise | Less than 40dB (1 meter from surface) |  |
| Operating Temperature | 0°C – 40°C |  |
| Relative Humidity | 0 – 95% (Non-condensing) |  |